

 **20 March 2024**

**REQUEST FOR QUOTATION**

**INTERIOR AND EXTERIOR BRANDING OF THE NEWLY PROPOSED BINDURA BRANCH**

**PARTITIONING OF THE NEWLY PROPOSED BINDURA BRANCH**

**PRICE SCHEDULE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item** | **Description** | **Qty** | **USD$** **Unit Price** | **USD$** **Total Price** |
|  | **Interior and exterior branding of the newly proposed Bindura Branch** |  |  |  |
|  | **Office partitioning of the newly proposed Bindura Branch** |  |  |  |
|  | Vat sum |  |  |  |
|  | **TOTAL** |  |  |  |

**Manner of Submission**

Bids must be submitted through email or in some other electronic forms are received before the end of the bidding period. Bids must be received at NBS **Celestial Park** Head Office on or before the closing date**, No. 19280 Borrowdale Road, Block 1, Unit L, 2nd Floor, Harare** before **10:00 hours** on the **closing date.** Electronic submission to be sent to: tinashe.dani@nbs.co.zw Offers not received by 10:00 hours on the closing date will be treated as late tenders, rejected, and returned to tenderer.

**Site Visit Date of Attendance at NSSA Bindura: Friday 22ND of March 2024 at 11.00hrs (must).**

**Closing Date for Submission: Monday 22nd of March 2024 at 10.00hrs**

**YOUR OFFER SHOULD CLEARLY INDICATE THE FOLLOWING:**

1. **Bidders must respond to the specification on a line-by-line basis.**
2. **Bidders must attach the methodology and installation plan**
3. **Bidders must confirm in writing that they will be able to provide a 12 month warranty for the installed system.(must)**
4. **Bidders must provide lead time/delivery period from receipt of official order expressed in weeks (must).**
5. **Bidders must attach proof of PRAZ registration, Current Tax Clearance Certificate & NSSA Certificate (must attach).**
6. **Bidders must State Bid Validity for their Quotation (must attach).**

**N.B: All prices quoted in US$ should be payable in ZWL$ at the prevailing interbank rate. Costs to include all labour and consumable costs. No hidden costs and variations will be permitted.**